## Sheet1
This is the full ToC
0 | Foreword
1 | 1 Scope
2 | 2 Normative references
3 | 3 Terms and definitions
4 | 4 Abbreviations
5 | 5 Management of technical safety
6 | 5.1 General
7 | 5.2 Activities related to technical safety design
8 | 5.2.1 Overview
9 | 5.2.2 Define context
10 | 5.2.3 Identify hazards and accidental events (HAZID)
11 | 5.2.4 Perform risk analyses and evaluations
12 | 5.2.5 Identify and define barrier functions, systems and elements (risk treatment)
13 | 5.2.6 Safety strategies
14 | 5.2.7 Define performance requirements
15 | 5.2.8 Define performance Standards
16 | 5.2.9 Establish safety requirement specification (SRS)
17 | 5.2.10 Safety specifications, diagrams, drawings, philosophies, etc.
18 | 5.3 Risk reduction principles and inherent safety design
19 | 5.4 Design provisions for the operating phase
20 | 5.5 Commissioning and start-up
21 | 5.6 Accidental loads and resistance
22 | 5.6.1 General
23 | 5.6.2 Gas explosions
24 | 5.6.3 Hydrocarbon fires
25 | 5.6.3.1 General
26 | 5.6.3.2 Main load bearing structures
27 | 5.6.3.3 Worst credible process fire
28 | 5.6.3.4 Unacceptable ruptures of process equipment in a fire situation.
29 | 5.6.3.5 Process equipment and piping – fire calculations
30 | 5.7 Qualification of technology
31 | 5.8 Experience transfer
32 | 5.9 Temporary equipment
33 | 5.10 Documentation
34 | 6 Layout
35 | 6.1 Role
36 | 6.2 Interfaces
37 | 6.3 Required utilities
38 | 6.4 Functional requirements
39 | 6.4.1 Main design principles
40 | 6.4.2 Riser flow line area
41 | 6.4.3 Process area
42 | 6.4.4 Well areas
43 | 6.4.5 Piping
44 | 6.4.6 Lifting and lay down
45 | 6.4.7 Storage and handling of explosives
46 | 6.4.8 Floating installations
47 | 6.4.9 Turret
48 | 6.4.10 Explosion design principles
49 | 6.4.11 Hot air exposure of helicopter deck
50 | 6.5 Survivability requirements
51 | 7 Structural integrity
52 | 7.1 Role
53 | 7.2 Interfaces
54 | 7.3 Required utilities
55 | 7.4 Functional requirements
56 | 7.5 Survivability requirements
57 | 8 Containment
58 | 8.1 Role
59 | 8.2 Interfaces
60 | 8.3 Required utilities
61 | 8.4 Functional requirements
62 | 8.4.1 General
63 | 8.4.2 Piping
64 | 8.4.3 Flanges and connections
65 | 8.4.4 Risers
66 | 8.5 Survivability requirements
67 | 9 Open drain
68 | 9.1 Role
69 | 9.2 Interfaces
70 | 9.3 Required utilities
71 | 9.4 Functional requirements
72 | 9.4.1 Minimize fire/escalation risk arising from spills and leaks
73 | 9.4.2 Separation of drain systems
74 | 9.5 Survivability requirements
75 | 10 Process safety system
76 | 10.1 Role
77 | 10.2 Interfaces
78 | 10.3 Required utilities
79 | 10.4 Functional requirements
80 | 10.4.1 Process safety principles
81 | 10.4.2 Process shutdown (PSD) valves
82 | 10.4.3 Pressure safety valves (PSVs)
83 | 10.4.4 Alarms, automatic actions
84 | 10.4.5 Response time
85 | 10.4.6 Logic solver
86 | 10.4.7 Instrument based systems for secondary pressure protection
87 | 10.5 Survivability requirements
88 | 11 Emergency shutdown (ESD)
89 | 11.1 Role
90 | 11.2 Interfaces
91 | 11.3 Required utilities
92 | 11.4 Functional requirements
93 | 11.4.1 Manual ESD activation
94 | 11.4.2 Emergency shutdown (ESD) final elements
95 | 11.4.3 Emergency shutdown (ESD) actions
96 | 11.4.4 Emergency shutdown (ESD) alarm annunciation
97 | 11.4.5 Emergency shutdown (ESD) response time
98 | 11.4.6 Logic solver
99 | 11.4.7 Emergency shutdown (ESD) independence
100 | 11.5 Survivability requirements
101 | 12 Emergency depressurisation and Flare/Vent system
102 | 12.1 Role
103 | 12.2 Interfaces
104 | 12.3 Required utilities
105 | 12.4 Functional requirements
106 | 12.4.1 Emergency depressurisation
107 | 12.4.2 Activation of emergency depressurisation (EDP)
108 | 12.4.3 Flare, vent and knock out drum
109 | 12.5 Survivability requirements
110 | 13 Gas detection
111 | 13.1 Role
112 | 13.2 Interfaces
113 | 13.3 Required utilities
114 | 13.4 Functional requirements
115 | 13.4.1 Design coverage
116 | 13.4.2 Gas detection location – Areas requiring gas detection
117 | 13.4.3 Gas detection actions and voting
118 | 13.4.4 Requirements for HC gas detection at air intakes
119 | 13.4.5 Gas detection set-points
120 | 13.4.6 Gas detection alarms
121 | 13.4.7 Gas detection response time
122 | 13.4.8 Gas detection logic solver
123 | 13.4.9 Independence
124 | 13.5 Survivability requirements
125 | 14 Fire detection
126 | 14.1 Role
127 | 14.2 Interfaces
128 | 14.3 Required utilities
129 | 14.4 Functional requirements
130 | 14.4.1 Design coverage
131 | 14.4.2 Fire detection location – areas requiring fire detection
132 | 14.4.3 Manual call points
133 | 14.4.4 Characteristics and calibration
134 | 14.4.5 Fire detection actions and voting
135 | 14.4.6 Fire detection alarms
136 | 14.4.7 Response time
137 | 14.4.8 Logic solver
138 | 14.5 Survivability requirements
139 | 15 Ignition source control (ISC)
140 | 15.1 Role
141 | 15.2 Interfaces
142 | 15.3 Required utilities
143 | 15.4 Functional requirements
144 | 15.4.1 General
145 | 15.4.2 Non-essential equipment (electrical and non-electrical)
146 | 15.4.2.1 General
147 | 15.4.2.2 Hazardous areas:
148 | 15.4.2.3 Non-hazardous naturally ventilated areas:
149 | 15.4.2.4 Non-hazardous mechanically ventilated areas:
150 | 15.4.3 Essential equipment (electrical and non-electrical)
151 | 15.4.3.1 General
152 | 15.4.3.2 Hazardous areas:
153 | 15.4.3.3 Non-hazardous naturally ventilated areas:
154 | 15.4.3.4 Non-hazardous mechanically ventilated areas
155 | 15.4.4 Safety critical equipment (electrical and non-electrical)
156 | 15.4.4.1 General
157 | 15.4.4.2 Hazardous area:
158 | 15.4.4.3 Non-hazardous naturally ventilated areas:
159 | 15.4.4.4 Non-hazardous mechanically ventilated areas:
160 | 15.4.5 Hot surfaces
161 | 15.4.6 Static electricity
162 | 15.4.7 Cranes
163 | 15.4.8 Anchor handling equipment
164 | 15.4.9 Temporary equipment
165 | 15.4.10 Ignition source control independence and reliability
166 | 15.5 Survivability requirements
167 | 16 Human – machine interface (HMI) for CCR systems
168 | 16.1 Role
169 | 16.2 Interfaces
170 | 16.3 Required Utilities
171 | 16.4 Functional requirements
172 | 16.4.1 General requirements for human-machine interface (HMI)
173 | 16.4.2 Human-machine interface (HMI) status and alarm
174 | 16.4.3 Human-machine interface (HMI) control functions
175 | 16.4.4 General requirements for critical action panel (CAP)
176 | 16.4.5 Critical action panel (CAP) status and alarm
177 | 16.4.6 Critical action panel (CAP) control functions
178 | 16.5 Survivability requirements
179 | 17 Natural ventilation and heating, ventilation and air conditioning (HVAC)
180 | 17.1 Role
181 | 17.2 Interfaces
182 | 17.3 Required utilities
183 | 17.4 Functional requirements
184 | 17.4.1 Natural ventilation in hazardous areas
185 | 17.4.2 Mechanical ventilation in hazardous areas
186 | 17.4.3 Mechanical ventilation in non-hazardous areas with internal leakage sources
187 | 17.4.4 Mechanical ventilation in non-hazardous areas with “openings” towards hazardous area
188 | 17.4.5 Mechanical ventilation in areas non-hazardous by location
189 | 17.4.6 Ventilation inlets and outlets
190 | 17.4.7 Dampers
191 | 17.4.8 Survivability requirements
192 | 18 Public address (PA), alarm and emergency communication
193 | 18.1 Role
194 | 18.2 Interfaces
195 | 18.3 Required utilities
196 | 18.4 Functional requirements
197 | 18.4.1 PAGA, loudspeakers, alarm horns/sirens, bells and alarm lights
198 | 18.4.2 Alarm signals
199 | 18.4.3 Internal emergency communication
200 | 18.4.4 External emergency communication
201 | 18.4.5 Telecommunication system in an emergency situation
202 | 18.4.6 Automatic personnel registration system
203 | 18.5 Survivability requirements
204 | 19 Emergency power and lighting
205 | 19.1 Role
206 | 19.2 Interfaces
207 | 19.3 Required utilities
208 | 19.4 Functional requirements
209 | 19.4.1 Emergency power supply
210 | 19.4.2 Uninterruptible power supply (UPS)
211 | 19.4.3 Emergency power generator
212 | 19.4.4 Emergency power consumers
213 | 19.4.5 Emergency and escape lighting
214 | 19.5 Survivability requirements
215 | 20 Passive fire protection (PFP)
216 | 20.1 Role
217 | 20.2 Interfaces
218 | 20.3 Required utilities
219 | 20.4 Functional requirements
220 | 20.4.1 Fire divisions
221 | 20.4.2 Load bearing structures
222 | 20.4.3 Vessels and piping
223 | 20.4.4 Safety critical equipment
224 | 20.4.5 Non-combustible materials
225 | 20.4.6 Living quarter and office/accommodation spaces
226 | 20.5 Survivability requirements
227 | 21 Active fire protection
228 | 21.1 Role
229 | 21.2 Interfaces
230 | 21.3 Required utilities
231 | 21.4 Functional requirements
232 | 21.4.1 General
233 | 21.4.2 Fire water supply system
234 | 21.4.3 Fire water pump arrangement
235 | 21.4.4 Deluge system
236 | 21.4.5 Sprinkler system
237 | 21.4.6 Foam system
238 | 21.4.7 Manual firefighting
239 | 21.4.7.1 General
240 | 21.4.7.2 Hydrants and hose reels
241 | 21.4.8 Monitors
242 | 21.4.9 Helideck firefighting system
243 | 21.4.10 Extinguishing systems in enclosed compartments
244 | 21.4.10.1 General
245 | 21.4.10.2 Water mist system
246 | 21.4.10.3 Gaseous agents
247 | 21.5 Survivability requirements
248 | 22 Escape and Evacuation
249 | 22.1 Role
250 | 22.1.1 Escape routes and exits
251 | 22.1.2 Mustering areas
252 | 22.1.3 Evacuation systems
253 | 22.2 Interfaces
254 | 22.3 Required utilities
255 | 22.4 Functional requirements
256 | 22.4.1 Escape routes and exits
257 | 22.4.1.1 Outside buildings
258 | 22.4.1.2 Inside buildings
259 | 22.4.1.3 Signs and markings
260 | 22.4.2 Evacuation systems
261 | 22.4.2.1 General principles
262 | 22.4.2.2 Lifeboats
263 | 22.4.2.3 Escape chutes:
264 | 22.4.3 Survival suits
265 | 22.4.4 Muster area
266 | 22.5 Survivability requirements
267 | 22.5.1 Survivability of escape routes
268 | 22.5.2 Survivability of evacuation means and muster area
269 | 23 Rescue and safety equipment
270 | 23.1 Role
271 | 23.2 Interfaces
272 | 23.3 Required utilities
273 | 23.4 Functional requirements
274 | 23.4.1 Man over board (MOB) boat
275 | 23.4.2 Safety showers and eyebaths
276 | 23.4.3 Safety station cabinets
277 | 23.4.4 First aid kits
278 | 23.4.5 Lifebuoys
279 | 23.4.6 Firemen’s equipment
280 | 23.4.7 Smoke hoods/breathing masks
281 | 23.5 Survivability requirements
282 | 24 Marine systems and position keeping
283 | 24.1 Role
284 | 24.2 Interfaces
285 | 24.3 Required utilities
286 | 24.4 Functional requirements
287 | 24.4.1 Ballast and bilge system
288 | 24.4.2 Water- and weathertight Integrity
289 | 24.4.3 Weight and stability control
290 | 24.4.4 Position keeping system
291 | 24.4.4.1 General
292 | 24.4.4.2 Position Reference System
293 | 24.5 Survivability requirements
294 | 25 Avoidance of Vessel Collisions
295 | 25.1 Role
296 | 25.2 Interfaces
297 | 25.3 Required utilities
298 | 25.4 Functional requirements
299 | 25.4.1 System for detection of vessel or drifting object on collision course.
300 | 25.4.2 Communication system
301 | 25.4.3 Systems for consequence reduction and evacuation
302 | 25.5 Survivability requirements
303 | 26 Well integrity
304 | 26.1 Role
305 | 26.2 Interfaces
306 | 26.3 Required utilities
307 | 26.4 Functional requirements
308 | 26.5 Survivability requirements
309 | A.1 Risk- and fire analysis
310 | A.2 Safety strategy and performance requirements
311 | A.2.1 Introduction
312 | A.2.2 ESD (Clause 11)
313 | A.2.3 Gas detection (Clause 13)
314 | A.2.4 Fire detection (Clause 14)
315 | A.2.5 Ignition source control (ISC) (Clause 15)
316 | A.2.6 Public address (PA), alarm and emergency communication (Clause 18)
317 | A.2.7 Active fire protection (Clause 21)
318 | A.2.8 Escape and evacuation (Clause 22)
319 | C.1 General
320 | C.2 SDS-101 Firewater Monitors Data Sheet
321 | C.3 SDS-102 Firewater Hose Reels w/nozzle Data Sheet
322 | C.4 SDS-103 Evacuation Chute Data Sheet
323 | C.5 SDS-104 Firewater Hydrant Data Sheet
324 | C.6 SDS-105 Firefighting Cabinet Data Sheet
325 | C.7 SDS-106 MOB Equipment Station Data Sheet
326 | C.8 SDS-108 Survival Suits Cabinet Data Sheet
327 | C.9 SDS-109 Fireman's Equipment Cabinet Data Sheet
328 | C.10 SDS-110 Firewater Valve Skid Data Sheet
329 | C.11 SDS-111 Portable Extinguisher Data Sheet
330 | C.12 SDS-112 Eye Bath Data Sheet
331 | C.13 SDS-113 Breathing Air Recharge Unit Data Sheet
332 | C.14 SDS-116 Safety Station Cabinet Data Sheet
333 | C.15 SDS-117 Safety Shower/Eye Bath (outdoor) Data Sheet
334 | C.16 SDS-118 Lifeboat and Davit Data Sheet
335 | Bibliography
336 | Tom side
337 | Tom side